## Sheet1
| INPUTS | [8 empty] | OUTPUTS
| PORTFOLIO | [7 empty] | BL | VOLUME |  |  |  |  | RATIOS
SCENARIO | Wind capacity, MW | PV capacity, MW | BESS 1h, MW | BESS 2h, MW | BESS 4h, MW | BESS 6h, MW | BESS 8h, MW | Pumped Hydro 12 h, MW | Desired Baseload, MW | Wind annual production, MWh | PV annual production, MWh | Redundant wind production, MWh | Reduntant PV production, MWh | Missing energy, MWh | Green energy share in BL, % | # of green BL hours, % | Redundant wind share of wind annual production, % | Excess PV energy ratio to PV annual production, % | Excess energy ratio to BL, %
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 0 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 0 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 0 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 0 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 0 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 0 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 0 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 0 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 0 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 0 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 0 | [5 empty] | 40 | 158400 | 137483 | 19682 | 57749 | 132948 | 62 | 30 | 12 | 42 | 22
2021 | 44 | 183 | 0 | [5 empty] | 40 | 134772 | 152631 | 16117 | 70278 | 149392 | 57 | 26 | 12 | 46 | 25
2022 | 44 | 183 | 0 | [5 empty] | 40 | 106480 | 196762 | 13702 | 101604 | 162464 | 54 | 27 | 13 | 52 | 33
2023 | 44 | 183 | 0 | [5 empty] | 40 | 123200 | 149656 | 16137 | 61845 | 155526 | 56 | 27 | 13 | 41 | 22
2024 | 44 | 183 | 0 | [5 empty] | 40 | 145200 | 150085 | 19063 | 60867 | 135245 | 61 | 33 | 13 | 41 | 23
2020 | 44 | 183 | 0 | [5 empty] | 80 | 158400 | 137483 | 3283 | 13915 | 424116 | 40 | 10 | 2 | 10 | 2
2021 | 44 | 183 | 0 | [5 empty] | 80 | 134772 | 152631 | 3918 | 22574 | 439889 | 37 | 12 | 3 | 15 | 4
2022 | 44 | 183 | 0 | [5 empty] | 80 | 106480 | 196762 | 4182 | 40344 | 442084 | 37 | 15 | 4 | 21 | 6
2023 | 44 | 183 | 0 | [5 empty] | 80 | 123200 | 149656 | 3061 | 15271 | 446276 | 36 | 10 | 2 | 10 | 3
2024 | 44 | 183 | 0 | [5 empty] | 80 | 145200 | 150085 | 1437 | 12110 | 419461 | 40 | 9 | 1 | 8 | 2
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 71049 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 90025 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 82958 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 99990 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 72706 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 410581 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 417598 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 403521 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 431481 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 409298 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 4092 | 9894 | 7604 | 80 | 65 | 3 | 7 | 4
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 5116 | 20753 | 29499 | 75 | 58 | 4 | 14 | 7
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 4078 | 30513 | 2244 | 77 | 63 | 4 | 16 | 10
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 4536 | 16324 | 42867 | 72 | 56 | 4 | 11 | 6
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 5633 | 9807 | 8602 | 80 | 68 | 4 | 7 | 4
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 393383 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 391106 | 41 | 18 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 2 | 12 | 359009 | 43 | 24 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 413149 | 39 | 15 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 395751 | 42 | 14 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 17940 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 37107 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 12599 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 51425 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 20942 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 397722 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 398591 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 371200 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 418124 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 399129 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0
2020 | 44 | 183 | 144 | [5 empty] | 40 | 158400 | 137483 | 3006 | 6454 | 76395 | 79 | 62 | 2 | 5 | 3
2021 | 44 | 183 | 144 | [5 empty] | 40 | 134772 | 152631 | 4187 | 15994 | 94051 | 74 | 56 | 3 | 10 | 6
2022 | 44 | 183 | 144 | [5 empty] | 40 | 106480 | 196762 | 3137 | 23264 | 89057 | 75 | 60 | 3 | 12 | 8
2023 | 44 | 183 | 144 | [5 empty] | 40 | 123200 | 149656 | 3764 | 12498 | 104505 | 71 | 54 | 3 | 8 | 5
2024 | 44 | 183 | 144 | [5 empty] | 40 | 145200 | 150085 | 4616 | 7070 | 79292 | 78 | 64 | 3 | 5 | 3
2020 | 44 | 183 | 144 | [5 empty] | 80 | 158400 | 137483 | 0 | 0 | 412512 | 42 | 14 | 0 | 0 | 0
2021 | 44 | 183 | 144 | [5 empty] | 80 | 134772 | 152631 | 0 | 0 | 421374 | 40 | 17 | 0 | 0 | 0
2022 | 44 | 183 | 144 | [5 empty] | 80 | 106480 | 196762 | 0 | 0 | 409492 | 42 | 23 | 0 | 0 | 0
2023 | 44 | 183 | 144 | [5 empty] | 80 | 123200 | 149656 | 0 | 0 | 433889 | 39 | 14 | 0 | 0 | 0
2024 | 44 | 183 | 144 | [5 empty] | 80 | 145200 | 150085 | 0 | 0 | 410779 | 42 | 13 | 0 | 0 | 0